## Slide 1: Module 6 will cover: - Next Generation Sequencing (NGS) - An overview of the technology - Analysis software - Fetal fraction (FF) - What is fetal fraction? - Why fetal fraction is used - Dynamic fetal fraction
Module 6: NGS and Fetal Fraction

## Slide 2: Next generation sequencing (NGS)
In a pregnancy where the baby does not have Down’s syndrome, chromosome 21 represents 1.36% of the total cell-free DNA (cfDNA) in the maternal circulation.
In a pregnancy where the baby does have Down’s syndrome, this percentage rises to about 1.42% - only 0.06% difference.
To distinguish such small differences in the amount of cfDNA found, incredibly accurate DNA counting and sorting methods are required.
NGS sequencing enables millions of DNA strands to be sequenced in parallel, this is cheaper, quicker and generates more data.

## Slide 3: NGS workflow for cfDNA screening
DNA extraction: DNA fragments are extracted from blood plasma. In each 10 ml of blood there are millions of cfDNA fragments from all 23 chromosome pairs from both the placenta and the mother.
Fully automated DNA extraction and library construction is performed using the Yourgene SP150 instrument.

## Slide 4: NGS workflow for cfDNA screening
DNA fragments from the sample are modified, labelled with barcodes and amplified using PCR – referred to as a library. The barcodes are specific to each individual patient sample and are used to identify each patient’s DNA after sequencing.
Patient samples are pooled. Prior to this samples are measured (quantified) to ensure that there is an equal representation of each sample in the pool.

## Slide 5: NGS workflow for cfDNA screening
  Quantification and innovative enrichment of the placental DNA is performed using the Yourgene QS250 instrument. This instrument efficiently selects a high proportion of the DNA fragments that are of interest for the analysis resulting in improved DNA sequencing results.

## Slide 6: NGS workflow for cfDNA screening
Sequencing is performed using the Illumina NextSeq™ 550Dx instrument. This provides a flexible workflow with up to 48 patient samples per sequencing run.

## Slide 7: Analysis of sequencing data
The sequenced cfDNA fragments are aligned to a reference genome.
The fragments are then counted and an overall amount of DNA is assigned to each chromosome.
The amount of chromosome 13, 18 and 21 is then compared against the total amount.
Reference Genome
Placental and maternal DNA fragments

## Slide 8: Analysis & mapping distribution
Each patient sample is assessed by looking at the sequence quality, count density, controls and fetal fraction.
This is all performed and analysed using advanced computer technologies to report on:
How well the flow cell was loaded.
If there is enough DNA in the wells.
How many wells have good quality data.
All these processes ensure high confidence in a high and low chance result.

## Slide 9: Fetal Fraction
cfDNA in maternal plasma is a mixture of maternal and placental cfDNA. The proportion of cfDNA from the placenta is known as ‘fetal fraction’.
All NIPT tests are affected by the fetal fraction of cfDNA. Most, but not all, cfDNA screening tests measures fetal fraction in analysis.

## Slide 10: cfDNA screening tests and measuring fetal fraction
One study involved analysis of non-pregnant blood samples. Laboratories that did not measure fetal fraction reported a ‘female infant – no aneuploidy’ because the test analysed only maternal cfDNA and presumed placental cfDNA present
If a mother has a “low fetal fraction” it can impact the ability to generate a result on the sample
Studies have shown that pregnant women with a large BMI, earlier in pregnancy and some other factors too, can have a low fetal fraction

## Slide 11: Dynamic fetal fraction Sample/run validity
The fetal fraction estimation and QC check is the final step in the analysis process
Valid Result
Valid run control
Fetal fraction
Count density
GC Content
Sequencing QC

## Slide 12
The FF estimate needs to be applied with consideration for (i) other available data and (ii) the technology used
The SAFE test firstly, uses a hard cut-off of 2%
Fetal Fraction in the SAFE test
Accounts for <0.5% of the sample population
Sample FF estimated
≥2%, QC check passes
<2%, QC check fails

## Slide 13: Fetal Fraction: Sample/run validity
A valid SAFE test result is a balance of fetal fraction (FF), count density and chromosome ratio
First, determination of whether the dynamic check is required (FF of 2-4%)
If it is required, the number of aligned sequencing reads is assessed (count density) which allows for the required level of FF to be determined.
A higher count density means the FF% required can be lower. Conversely, a lower count density will require a higher fetal fraction.
 | Fetal Fraction | Count Density | Result
Scenario 1 | 2-8% |  | Valid
Scenario 2 | <2% |  | Invalid
Scenario 3 | >8% |  | Invalid